REQUEST FOR PROPOSALS

# Multi-Site Custodial & Facility Support Services

A fictional public-sector solicitation created for Michael Ngo’s professional portfolio

| Issuing Entity | Queensboro Transit Authority (QTA) |
| --- | --- |
| Solicitation | RFP No. QTA-26-117 |
| Issue Date | September 8, 2026 |
| Proposal Due | October 22, 2026 at 2:00 PM ET |
| Contract Term | Three years, plus two one-year renewal options |
| Anticipated Start | February 1, 2027 |

THIS DOCUMENT IS ENTIRELY FICTIONAL AND IS NOT AN ACTIVE PROCUREMENT.

# Procurement Notice

The Queensboro Transit Authority invites qualified firms to provide comprehensive custodial and facility support services across a portfolio of transit, administrative, maintenance, and customer-facing facilities. QTA seeks a contractor capable of maintaining safe, sanitary, reliable, and environmentally responsible facilities while operating within a security-sensitive, 24-hour transportation environment.

PORTFOLIO NOTE QTA, its facilities, personnel, solicitation number, requirements, dates, and commercial terms are fictional. The document is designed to provide a realistic source for a procurement-analysis work sample.

# Table of Contents

1. Procurement Overview

2. Agency Background and Objectives

3. Facility Portfolio

4. Scope of Services

5. Staffing and Operational Requirements

6. Performance Management

7. Compliance and Contract Requirements

8. Proposal Instructions

9. Evaluation and Award

10. Pricing Schedule

11. Required Forms and Certifications

Appendix A - Facility Detail

Appendix B - Service Frequencies

Appendix C - Performance Standards

# 1. Procurement Overview

| Milestone | Date / Requirement |
| --- | --- |
| RFP issued | September 8, 2026 |
| Pre-proposal conference | September 18, 2026 at 10:00 AM ET (virtual; non-mandatory) |
| Site visits | September 21-23, 2026 (mandatory; all three clusters) |
| Questions due | September 29, 2026 at 4:00 PM ET |
| Addendum target | October 6, 2026 |
| Proposals due | October 22, 2026 at 2:00 PM ET |
| Interviews / presentations | Week of November 16, 2026, if requested |
| Notice of intent to award | December 11, 2026 |
| Mobilization period | December 15, 2026-January 31, 2027 |
| Service commencement | February 1, 2027 |

## 1.1 Contract Structure

Base term of three years with two optional one-year renewals at QTA’s sole discretion.

Single award is anticipated for all base locations. Partial proposals are not permitted.

Firm-fixed annual pricing for routine services, with separate unit rates for emergency and optional work.

Year-over-year escalation is capped at the lesser of 3.0% or the applicable regional CPI adjustment, excluding documented statutory wage changes.

QTA may add or remove facilities using the proposed unit-price methodology and negotiated staffing impact.

## 1.2 Procurement Method

Award will be made on a best-value basis. QTA is not required to select the lowest-priced proposal. Technical merit, operational readiness, management controls, workforce plan, relevant experience, and price reasonableness will be evaluated together.

# 2. Agency Background and Objectives

QTA is a fictional regional transportation authority serving approximately 420,000 weekday passenger trips through rail, bus, and paratransit operations. Its facilities include high-traffic public stations, an around-the-clock operations control center, maintenance support areas, administrative offices, training space, and a customer service center.

## 2.1 Procurement Objectives

Improve cleanliness consistency across facilities with different operating profiles.

Reduce passenger complaints and repeat deficiencies through measurable quality controls.

Maintain uninterrupted service during weather events, emergencies, and special operations.

Implement green-cleaning practices without compromising disinfection or public-health response.

Create transparent staffing, inspection, escalation, and corrective-action reporting.

Complete mobilization without loss of service or incumbent-workforce disruption.

# 3. Facility Portfolio

| Location / Cluster | Market | Use | Approx. SF | Sites | Coverage |
| --- | --- | --- | --- | --- | --- |
| QTA Headquarters | Long Island City, NY | Administrative | 118,000 | 5 | Weekdays + Sat |
| Central Operations Control Center | Sunnyside, NY | 24/7 critical operations | 54,000 | 1 | 24/7 |
| Queensboro Customer Center | Jackson Heights, NY | Public / administrative | 32,500 | 1 | 7 days |
| North Maintenance Annex | Astoria, NY | Maintenance support | 79,000 | 3 | 6 days |
| East Training & Dispatch Center | Jamaica, NY | Training / dispatch | 66,000 | 2 | 7 days |
| Station Cluster A | Western Queens | 4 passenger stations | 92,000 | 4 | 20 hrs/day |
| Station Cluster B | Central Queens | 5 passenger stations | 111,000 | 5 | 20 hrs/day |
| Station Cluster C | Eastern Queens | 3 passenger stations | 72,500 | 3 | 20 hrs/day |

Total portfolio: approximately 625,000 square feet across 20 service locations. Areas and counts are estimates for proposal planning and will be verified during mobilization.

## 3.1 Important Facility Conditions

The Operations Control Center may not experience a lapse in cleaning coverage and requires cleared personnel at all times.

Passenger stations remain open during most cleaning hours. Work must be sequenced around passenger flow, accessibility routes, and train operations.

Maintenance locations contain industrial soils; proposers must distinguish custodial cleaning from hazardous-material remediation, which is excluded unless separately authorized.

Two station locations have limited storage and require mobile supply replenishment.

# 4. Scope of Services

## 4.1 Routine Custodial Services

Clean and disinfect restrooms, locker rooms, wellness rooms, and high-touch surfaces.

Clean offices, conference rooms, training rooms, customer areas, control rooms, breakrooms, corridors, stairwells, elevators, and entrances.

Empty waste and recycling; transport material to designated collection points; maintain waste rooms.

Vacuum, spot clean, damp mop, auto-scrub, burnish, and maintain resilient, terrazzo, concrete, tile, and carpeted flooring.

Clean interior glass, entrance glass, partitions, wayfinding surfaces, and accessible-height exterior glass.

Perform day porter response for spills, passenger incidents, weather tracking, consumable replenishment, and urgent appearance needs.

## 4.2 Periodic and Specialty Services

| Service | Minimum Frequency | Estimated Quantity / Notes |
| --- | --- | --- |
| Carpet extraction | Quarterly; high-traffic monthly | Approx. 94,000 SF carpet |
| Resilient floor scrub/recoat | Semiannual | Approx. 138,000 SF |
| Strip and refinish | Annual, by approved plan | Approx. 61,000 SF |
| Terrazzo restoration | Annual | Approx. 39,000 SF |
| High dusting | Quarterly | Up to 18 feet; lifts as required |
| Exterior ground-floor glass | Monthly | Approx. 24,000 SF |
| Upholstery cleaning | Semiannual | Approx. 1,150 seats |
| Pressure washing | Apr-Oct, monthly | Station entrances and designated platforms |

## 4.3 Emergency and Event Services

The contractor shall maintain an on-call response program capable of dispatching a supervisor and appropriate staff within 90 minutes for urgent events. Examples include severe-weather tracking, water intrusion cleanup below hazardous-response thresholds, passenger incidents, special events, and operational surges. Routine staffing may not be stripped to cover emergency work without QTA approval.

## 4.4 Supplies, Consumables, and Equipment

Contractor provides labor, supervision, cleaning chemicals, liners, equipment, PPE, and routine tools.

QTA provides restroom paper products, hand soap, and sanitizer. Contractor stores, tracks, replenishes, and reports inventory; unexplained loss may be charged back.

Battery-powered equipment is preferred in public areas. Equipment must meet applicable noise, safety, and emissions restrictions.

Products must comply with QTA’s Green Cleaning Standard unless an approved disinfection exception applies.

# 5. Staffing and Operational Requirements

## 5.1 Minimum Coverage

| Role / Coverage | Minimum Requirement |
| --- | --- |
| Contract Manager | Full-time, dedicated; primary executive contact; available during business hours and emergencies |
| Quality & Safety Manager | Minimum 0.5 FTE; independent inspection and trend analysis |
| Cluster Supervisors | Three full-time supervisors, one assigned to each geographic cluster |
| Operations Control Center | Two cleared cleaners per shift on first and second shift; one cleared cleaner overnight |
| Passenger Stations | Continuous porter coverage during scheduled service windows; staffing plan proposed by vendor |
| Relief Pool | Documented relief capacity equal to at least 12% of scheduled weekly hours |
| Emergency Response | Supervisor plus minimum two-person crew available 24/7 |

## 5.2 Workforce Requirements

All staff must complete identity verification, criminal-history review permitted by law, security-awareness training, site orientation, and annual refresher training.

The contractor must comply with applicable New York prevailing-wage and wage-supplement requirements. The fictional wage schedule will be issued by addendum.

Proposer must describe its approach to incumbent-worker outreach. QTA does not guarantee incumbent retention or provide incumbent employee data before award.

Key management personnel may not be replaced during the first 120 days without QTA approval, except for cause or circumstances beyond the contractor’s control.

Absences must be filled before shift start. Unfilled critical posts may trigger service deductions.

## 5.3 Mobilization

The apparent successful proposer shall submit a final mobilization plan within ten business days of notice of intent to award. The plan must cover recruitment, incumbent outreach, background screening, training, equipment delivery, inventory, site validation, communications, technology configuration, contingency staffing, and go-live command structure.

CRITICAL REQUIREMENT All Operations Control Center personnel must receive security clearance before February 1, 2027. Temporary uncleared substitutions are not permitted in controlled areas.

# 6. Performance Management

## 6.1 Quality Program

Contractor-performed inspections at least weekly for each location and daily for high-traffic passenger facilities.

QTA inspections may be announced or unannounced and may use visual standards, ATP testing, complaint data, and service records.

Monthly performance meeting supported by KPI dashboard, staffing reconciliation, complaints, corrective actions, safety events, training, supply use, and upcoming periodic work.

## 6.2 Key Performance Indicators

| KPI | Target | Measurement / Consequence |
| --- | --- | --- |
| Inspection score | ≥ 92% portfolio average; no site below 85% | Monthly score; corrective plan below target |
| Critical deficiency response | Acknowledge in 15 min; safe condition in 60 min | Per incident; deduction for missed response |
| Noncritical correction | Within 4 hours or agreed window | Per deficiency |
| Post coverage | ≥ 98.5% of scheduled critical hours | Payroll and electronic attendance reconciliation |
| On-time periodic work | ≥ 95% | Approved calendar completion |
| Complaint recurrence | ≤ 5% within 30 days | Ticket trend analysis |
| Reporting timeliness | 100% by fifth business day | Monthly deliverable |

## 6.3 Service Deductions

Deductions are intended to reflect the reduced value of deficient service and do not limit other contractual remedies. QTA will provide notice and an opportunity to explain disputed findings. Repeated failures may trigger a cure notice or default process.

| Event | Illustrative Deduction |
| --- | --- |
| Unfilled critical post | $250 per post per shift, plus cost of substitute coverage |
| Missed critical response | $500 per occurrence |
| Inspection score below 85% | $750 per site/month until corrected |
| Missed periodic service | 125% of allocated line-item value |
| Late monthly report | $150 per business day |
| Unauthorized key-person replacement | $2,500 per occurrence |

# 7. Compliance and Contract Requirements

| Requirement | Minimum |
| --- | --- |
| General liability | $5,000,000 aggregate / $2,000,000 occurrence |
| Automobile liability | $1,000,000 combined single limit |
| Workers compensation | Statutory; employer’s liability $1,000,000 |
| Umbrella / excess | $10,000,000 |
| Cyber liability | $2,000,000 due to workforce and reporting platform access |
| Bid security | 5% of total evaluated first-year price |
| Performance bond | 100% of first-year contract value |
| Payment bond | 100% of first-year contract value |
| Experience | Five years managing contracts of similar complexity; at least two 250,000+ SF references |
| Licensing | All licenses required for proposed work; specialized regulated work must be self-performed by licensed staff or disclosed subcontractor |

## 7.1 Subcontracting and Participation

Proposers shall identify all subcontractors and the work allocated to each.

QTA establishes a 20% combined MWBE participation goal and a 6% SDVOB participation goal for subcontractable spend, or a documented good-faith effort.

Core daily custodial management and at least 70% of routine labor hours must be self-performed by the prime contractor.

## 7.2 Technology and Data

Contractor shall use a mobile inspection and issue-management platform capable of timestamped inspections, photographs, corrective actions, and exports.

No biometric timekeeping may be implemented without QTA approval and documented legal/privacy review.

All QTA data must be returned or securely destroyed at contract completion.

# 8. Proposal Instructions

Proposals must be submitted electronically through the fictional QTA Procurement Portal. Files must be searchable PDF documents, with pricing submitted as a separate unlocked spreadsheet. The portal closes automatically at the deadline; email submissions will not be accepted.

| Volume | Content | Maximum |
| --- | --- | --- |
| 1 - Administrative | Cover letter, forms, certifications, bid security, addenda | No limit |
| 2 - Technical | Understanding, approach, staffing, transition, quality, safety, technology, sustainability | 35 pages |
| 3 - Experience & Team | Firm experience, references, key resumes, organization | 20 pages |
| 4 - Participation | Subcontracting, MWBE/SDVOB plan, good-faith evidence | 15 pages |
| 5 - Price | Pricing workbook and narrative assumptions | 10 narrative pages |

## 8.1 Mandatory Responsiveness Items

Proposal received before deadline.

Pricing for all base locations and contract years.

Bid security in the required amount.

Acknowledgment of every addendum.

Completed non-collusion, conflict, disclosure, and debarment certifications.

Attendance at all three mandatory site-visit clusters.

Commitment to meet insurance and bonding requirements.

## 8.2 Questions and Communications

All communications must be submitted through the procurement portal to the designated procurement officer. Contact with other QTA personnel concerning this solicitation may result in disqualification. Questions should cite the RFP section and state the specific clarification requested.

# 9. Evaluation and Award

| Criterion | Points |
| --- | --- |
| Technical approach and understanding | 25 |
| Staffing, management, and continuity plan | 20 |
| Mobilization and transition | 15 |
| Quality, safety, technology, and sustainability | 15 |
| Relevant experience and key personnel | 10 |
| Participation plan | 5 |
| Price and price realism | 10 |
| Total | 100 |

QTA may establish a competitive range, conduct interviews, request clarifications, verify references, perform price-realism analysis, and negotiate with one or more proposers. Unrealistically low staffing or pricing may be evaluated as an operational risk.

# 10. Pricing Schedule

## 10.1 Base Annual Pricing

| Location / Cluster | Year 1 | Year 2 | Year 3 |
| --- | --- | --- | --- |
| Headquarters | $________ | $________ | $________ |
| Operations Control Center | $________ | $________ | $________ |
| Customer Center | $________ | $________ | $________ |
| North Maintenance Annex | $________ | $________ | $________ |
| East Training & Dispatch | $________ | $________ | $________ |
| Station Cluster A | $________ | $________ | $________ |
| Station Cluster B | $________ | $________ | $________ |
| Station Cluster C | $________ | $________ | $________ |
| TOTAL ANNUAL PRICE | $________ | $________ | $________ |

## 10.2 Required Unit Rates

| Item | Unit | Regular | Overtime / Emergency |
| --- | --- | --- | --- |
| Cleaner / porter | Labor hour | $_____ | $_____ |
| Supervisor | Labor hour | $_____ | $_____ |
| Emergency crew dispatch | Occurrence | $_____ | $_____ |
| Carpet extraction | Square foot | $_____ | $_____ |
| Strip and refinish | Square foot | $_____ | $_____ |
| Terrazzo restoration | Square foot | $_____ | $_____ |
| Pressure washing | Square foot | $_____ | $_____ |
| Exterior glass above ground floor | Square foot | $_____ | $_____ |

## 10.3 Pricing Assumptions

The price narrative shall disclose productive labor hours, supervisory hours, relief percentage, wage basis, payroll burden, equipment, supplies, overhead, profit, subcontracted work, and escalation assumptions. QTA may request a confidential cost breakdown during evaluation.

# 11. Required Forms and Certifications

Form A - Proposal Certification and Authorized Signature

Form B - Addendum Acknowledgment

Form C - Non-Collusion Affidavit

Form D - Conflict and Disclosure Certification

Form E - Debarment and Responsibility Questionnaire

Form F - Subcontractor and Participation Schedule

Form G - Reference Form

Form H - Exceptions and Deviations

Form I - Bid Security Certification

# Form A - Proposal Certification

The undersigned certifies that the proposer has examined the solicitation, accepts the stated requirements except as expressly listed in Form H, and has authority to bind the proposing entity.

Legal Name: _________________________________________________________________

Address: _________________________________________________________________

Authorized Representative: _________________________________________________________________

Title: _________________________________________________________________

Signature: _________________________________________________________________

Date: _________________________________________________________________

# Form H - Exceptions and Deviations

| RFP Section | Requested Exception | Business / Legal Rationale | Proposed Alternative |
| --- | --- | --- | --- |

# Appendix A - Facility Detail

| Facility | Operating Profile | Selected Conditions |
| --- | --- | --- |
| Headquarters | Approx. 650 employees; 6 AM-10 PM | Executive floors; hearing rooms; fitness area; cafeteria seating |
| Operations Control Center | 24/7; controlled access; mission critical | No lapse in coverage; escorted equipment delivery; redundant staff clearance |
| Customer Center | 7 days; public transactions | High-touch service counters; queue areas; multilingual wayfinding |
| Maintenance Annex | Early/late shifts; industrial support | Locker rooms; parts areas; industrial soils; vehicle traffic |
| Training & Dispatch | 7 days; variable classes | Training rooms; simulation lab; dispatch break areas |
| Stations A-C | High passenger throughput | Public restrooms at 5 stations; weather tracking; limited closets at 2 sites |

# Appendix B - Service Frequency Framework

| Area | Daily / Continuous | Weekly | Periodic |
| --- | --- | --- | --- |
| Public restrooms | Inspect hourly; clean/disinfect as needed | Detail fixtures and partitions | Deep clean monthly |
| Entrances | Continuous response; mat care | Detail doors and frames | Pressure wash / glass per schedule |
| Offices | Waste, touchpoints, floors | Detail surfaces | Carpet / floor care |
| Control rooms | Scheduled low-disruption cleaning | Detail under approved access | Quarterly high dusting |
| Platforms / stations | Litter, spills, touchpoints | Edge/detail cleaning | Pressure washing and restoration |
| Locker rooms | Daily clean/disinfect | Detail benches and lockers | Deep clean monthly |

# Appendix C - Performance Severity

| Severity | Definition | Examples | Required Response |
| --- | --- | --- | --- |
| Critical | Immediate safety, health, security, or operational impact | Biohazard-like passenger incident; blocked egress; liquid near electrical equipment | Acknowledge 15 min; safe condition 60 min |
| Major | Material service failure affecting occupants or appearance | Unserviced restroom; repeated missed post; widespread supply outage | Correct within 4 hours |
| Minor | Localized deficiency without immediate operational impact | Dust, isolated spotting, missed detail item | Correct by next scheduled service or agreed time |